## Definitions: Facility Startup and Restart

| Term | Definition |
| --- | --- |
| authorization basis | Those aspects of the facility design basis and operational requirements relied on by RL to authorize operation of a nuclear facility or non-facility nuclear activity. These aspects are considered to be important to the safety of the facility operations. The authorization basis is described in documents such as the facility Safety Analysis Report and other safety analyses, Hazard Classification Documents, Technical Safety Requirements, RL-issued Safety Evaluation Reports, and facility-specific commitments made to comply with DOE Orders or policies. |
| Contractor Readiness Assessment with RL as the Authorization Authority | The contractor conducts a Readiness Assessment with RL oversight (Mission Element or Facility Representative) of the field portion of the review. RL is the Authorization Authority for the startup. This type of review should be used for moderately complex reviews requiring a lower level of detail, or for facilities/activities with lower associated risk. |
| Contractor Readiness Assessment with the contractor as the Authorization Authority | The contractor conducts a Readiness Assessment with RL oversight (Mission Element or Facility Representative) of the field portion of the review. The contractor is the Authorization Authority for the startup. This type of review should be used for low complex reviews requiring a level of detail or facility/activity risk lower than that described in item 2 above. |
| directed shutdown | An unscheduled termination of program operations or activities directed by contractor management, local DOE officials, or by DOE Headquarters. |
| facility shutdown | The condition in which a non-reactor nuclear facility ceases program work. In a shutdown condition, a facility must still meet all applicable technical safety requirements and environmental, safety, and health requirements. |
| finding | An identified deficiency. Findings are classified by the ORR team as either prestart or post-start, as defined below. Prestart finding - A finding that must be resolved before an activity can be started. Post-start finding - A finding that must be resolved, but may be corrected after the activity starts. Post-start findings are addressed by a corrective action plan, which includes any compensatory measures taken. |
| minor modification | Modifications that do not affect the safety basis of the facility. |
| Mission Element Activity Point of Contact (POC) | The mission element staff member assigned by the mission element manager as the point of contact for the startup or restart activity undergoing the readiness review. Other mission element staff can be assigned to support the Mission Element Activity POC. |
| observation | A condition or practice that does not provide or promote effective protection of the health and safety of the public, workers, or the environment, but is not directly linked to compliance. Or A condition or practice that does provide or promote protection of the health and safety of the public, worker, or the environment and is worthy of noting in the final report. |
| Parallel RA | The contractor and RL conduct concurrent independent reviews. The process for this type of review would include independent monitoring of the mockup or dry run activities, independent review of a select portion of the documents reviewed by the contractor team as a minimum, and parallel interviews of facility personnel. The parallel readiness assessment is used for complex reviews requiring a high level of detail, or for facilities/activities with higher associated risk not meeting the requirement for an ORR. |
| planned shutdown | A facility shutdown required for scheduled activities (e.g., programmatic or equipment adjustments, reactor refueling, maintenance, surveillance, tests, inspections, and/or safety upgrades) or for programmatic reasons unrelated to the facility's ability to operate, such as funding shortfall. |
| program work | Work in a non-reactor nuclear facility that is accomplished to further the goals of the facility mission and/or the program, which the facility is operated. Program work is not accomplished when the facility is shutdown. Program work does not include work required to maintain the facility in a safe shut-down condition, minimize radioactive material storage, or accomplish modifications and correct deficiencies required before program work can recommence. |
| programmatic issues | The following items are programmatic issues. technical safety requirements/safety analysis report revisions configuration management implementation implementation of order compliance systems administrative, operating, and maintenance procedure requirements operator training completion other formal program establishment. Note: This list is not all inclusive and there may be other examples of programmatic issues. |
| Readiness to Proceed Memorandum (Declaration of Readiness to Operate) | The formal document that the contractor submits, which certifies that the facility is prepared to start or resume operations. The memorandum may include specific items requiring completion or resolution prior to the resumption of program work. |
| restart | The recommencement of program work. Restarts requiring a readiness review can occur in an operating facility if the process to be resumed meets the requirements of readiness review. This can be true even if the same work is ongoing in some other portion of the operating facility. |
| routine shutdown | A shutdown normally directed by contractor management due to the end of the work period or lack of program work or program funds. |
| safety basis | The combination of information relating to the control of hazards at a nuclear facility (including design, engineering analyses, and administrative controls) upon which RL depends for its conclusion that activities at the facility can be conducted safely. It includes, but is not limited to SAR, Basis for Interim Operation, Preliminary Safety Analysis Reports, Final Safety Analysis Report, Operational Safety Requirements, and Technical Safety Requirements. |
| startup | The initial operation of a facility or process to perform program work. |
| unplanned shutdown | The terminations of program work at a facility for any cause, such as equipment malfunction, personnel error, or on shift operators response to indications or a situation that would have unsafe consequences without shutdown. |