| CH2M HILL Hanford Group, Inc. STARTUP AND TESTING PROGRAM PLAN | Manual Document Page Issue Date Effective Date | Management Plan TFC-PLN-77, REV A-1 1 of 3 April 6, 2006 April 6, 2006 |
| --- | --- | --- |

Ownership matrix

# PURPOSE AND SCOPE

(6.1.1. 6.1.2, 6.1.3, 6.1.4)

This plan describes the Tank Farm Contractor (TFC) Startup and Testing Program.  The Startup and Testing Program provides CH2M HILL Hanford Group, Inc. (CH2M HILL) tools for demonstrating the ability to safely operate new or modified systems or activities by managing the processes of Testing, Project Turnover and Operational Readiness.  This plan includes the functions, responsibilities, and authorities of the Startup and Testing organization.

# IMPLEMENTATION

Implementation of this plan is effective on the date shown in the header.  Implementation of the Startup and Testing Program, as described in this plan and in the implementing plans and procedures, ensures that new or modified activities or operations have been tested as required, subjected to a rigorous turnover process, and are prepared in all aspects to be operated safely.

# RESPONSIBILITIES

## Startup and Testing Director

The Startup and Testing Director ensures that the Startup and Testing Program meets the goals and objectives of the River Protection Project based on established program scope, schedule, and cost baseline.  The director ensures that testing, project turnover and operational readiness are performed in compliance with applicable codes, orders, and implementing procedures.

## Testing Manager

The Testing manager ensures the Testing program is executed in accordance with the requirements of TFC-PLN-26.

## Project Turnover Manager

The Project Turnover manager ensures the Project Turnover program is executed in accordance with the requirements of TFC-PLN-72.

## Operational Readiness Manager

The Operational Readiness manager ensures the Operational Readiness program is executed in accordance with the requirements of TFC-PLN-16.

# PROGRAM DESCRIPTION

The following sections provide the individual descriptions of the Test, Project Turnover and Operational Readiness programs.

## Test Program

The Testing organization performs the testing of new or modified structures, systems, and components (SSCs) which are important to environmental protection, health and safety of personnel, and supports the mission of CH2M HILL.  The term SSCs, as used in this plan and supporting procedures, is not limited to the classifications of safety class and safety significant items.  The Testing Program ensures that new or modified SSCs are capable of fully meeting their design requirements.  It also ensures that the testing performed to validate this capability is documented in a manner that fully supports CH2M HILL’s readiness activities consistent with graded approach considerations.  TFC-PLN-26 provides an overview of the program and procedures implemented by the TFC to ensure proper testing of new or modified SSCs.

## Project Turnover

The Project Turnover organization performs support functions to ensure an orderly turnover of SSCs and supporting documentation from Construction and Engineering to Operations in accordance with DOE O 413.3.  Support activities include development of the changes and additions to the safety equipment list and master equipment list, instrument list, spare parts list, and drawing matrices for facility or project as-built drawings.  The turnover group also coordinates the support activities of Operations personnel with those of the Training & Procedures organization to ensure maintenance and operating procedures are developed, along with training materials.  TFC-PLN-72 provides an overview of the program and procedures implemented by the TFC to achieve an orderly and complete turnover of SSCs from construction to operations.

## Operational Readiness

The goal of the Operational Readiness Program is to ensure that the authorization basis, facilities, personnel, equipment, and procedures are ready to support safe conduct of the activity.  The Operational Readiness Program consists of two distinct paths, achieving readiness and the readiness review process.  TFC-PLN-16 provides an overview of the programs and procedures implemented by TFC to ensure readiness to safely operate has been achieved.

Achievement of operational readiness is required prior to commencement of an activity and must be accomplished whether or not a readiness review, in accordance with the requirements of DOE Order 425.1B, is required.

After achievement of readiness has been accomplished, formal readiness reviews will be conducted, when required, in accordance with DOE Order 425.1B.  Readiness reviews are not intended to be a management tool to achieve readiness.  The purpose of a readiness review is to confirm a nuclear facility’s “state of readiness” for safe startup or restart.

# RECORDS

No records are generated in the performance of this plan.

# SOURCES

## Requirements

#### DOE O 413.3, “Project Management for the Acquisition of Capital Assets.”

#### DOE O 425.1B, “Startup and Restart of Nuclear Facilities.”

#### RPP-MP-003, “Integrated Environment, Safety, and Health Management System Description for the Tank Farm Contractor.”

#### TFC-PLN-02, “Quality Assurance Program Description.”

## References

#### TFC-PLN-16, “Operational Readiness Program Plan.”

#### TFC-PLN-26, “Testing Program Plan.”

#### TFC-PLN-72, “Project Turnover Program Plan.”