| ACTIVITY/TASK TITLE |
| --- |
| ACTIVITY/TASK DESCRIPTION |
| CHECK “YES” OR “N/A.” PROVIDE A BASIS FOR ALL ITEMS |
| YES N/A | 1. | The startup/restart required a change to the Safety Basis. Safety Basis (SB) documentation has been updated, approved, and properly controlled. |
|  |  | BASIS |
| YES N/A | 2. | The startup/restart required Change Evaluations/USQD process/USQDs to support facility operation. This is required for physical as well as procedural changes. |
|  |  | BASIS |
| YES N/A | 3. | If the startup/restart required changes to the Safety Basis (question 1 is “Yes”), personnel have been trained to the new Safety Basis requirements/controls. Descriptive changes to Chapter 2 of the DSA do not require a “Yes” answer |
|  |  | BASIS |
| YES N/A | 4. | The startup/restart required a change to the CSA(s)/CSE(s)/CSR(s) applicable in the facility. The CSA(s)/CSE(s)/CSR(s) are updated, approved, and properly controlled. |
|  |  | BASIS |
| YES N/A | 5. | If the startup/restart required changes to the CSA(s)/CSE(s)/CSR(s) (question 4 is “Yes”), personnel have been trained to the new CSA(s)/CSE(s)/CSR(s) limits and conditions. |
|  |  | BASIS |
| YES N/A | 6. | Procedures and work instructions for the startup/restart are current, effective, and properly controlled in accordance with Y15-232, “Technical Procedure Process”. |
|  |  | BASIS |
| YES N/A | 7. | Personnel required for startup/restart performance have completed training on the latest revision of procedures required for process/task performance. |
|  |  | BASIS |
| YES N/A | 8. | Personnel have established proficiency in the operation(s) to be conducted. |
|  |  | BASIS |
| YES N/A | 9. | A job hazard analysis has been completed for the startup/restart and necessary controls implemented in accordance with Y73-045, “Job Hazard Analysis Manual". |
|  |  | BASIS |
| YES N/A | 10. | Critical lifts required for startup/restart performance have been reviewed and approved by the Hoisting and Rigging Committee or designee, as required. |
|  |  | BASIS |
| YES N/A | 11. | Permits/plans (e.g., RWP, critical lifts, etc.) required for startup/restart are approved and implemented. |
|  |  | BASIS |
| YES N/A | 12. | Equipment/tooling required for operation has been identified, verified operational, and calibrated/certified as applicable. |
|  |  | BASIS |
| YES N/A | 13. | Change Request Packages for the startup/restart have been reviewed and post-installation testing has been completed and the packages “Approved to Return to Service” or “Closed” per Y15-187, “Integrated Safety and Change Control Process” |
|  |  | BASIS |
| YES N/A | 14. | Maintenance records have been reviewed. A maintenance applicability review (N3) has been performed. Open WOs have been reviewed for pre-start or post-start applicability. All pre-start maintenance work is complete and associated WOs are closed. |
|  |  | BASIS |
| CHECK “YES” OR “N/A.” PROVIDE A BASIS FOR ALL ITEMS |
| YES N/A | 15. | Affected Technical Basis Documents have been developed or revised and are listed on an effective TBIS. |
|  |  | BASIS |
| YES N/A | 16. | Equipment testing is complete and engineering/maintenance have turned the equipment over to operations. For engineering construction projects, the transition to operations will be done following completion of successful pre-operational functional testing in accordance with Y17-011, “Startup Testing Program Manual.” |
|  |  | BASIS |
| YES N/A | 17. | Personal protective equipment (PPE) required for this startup/restart is available in acceptable condition and sufficient quantity to support operations. |
|  |  | BASIS |
| YES N/A | 18. | Supporting utilities and support services necessary for the operation have reported operational readiness by their responsible managers. |
|  |  | BASIS |
| YES N/A | 19. | Grading Worksheet Package(s) has been completed in accordance with Y15-001INS, “Grading Criteria for Y-12 Facilities and Systems,” and Y15-009INS, “Criteria for Application of the Y-12 Configuration Management Program,” as applicable. HIGHEST SSC GRADE: |
|  |  | BASIS |
| YES N/A | 20. | System limits, process limits, or hazardous material limits for the operation have been identified and implemented in appropriate procedures, work instructions, etc. |
|  |  | BASIS |
| YES N/A | 21. | Per Y71-930, environmental aspects and impacts have been identified, evaluated, and where required controls have been established and integrated into operating procedures to eliminate, prevent, or minimize environmental impacts. Environmental permit requirements and exemptions have been reviewed to ensure compliance. |
|  |  | BASIS |
| YES N/A | 22. | Safeguards and security impacts have been identified and addressed. |
|  |  | BASIS |
| YES N/A | 23. | Lessons Learned have been evaluated for applicability and where applicable to the Startup/restart actions have been taken to address the Lesson Learned. |
|  |  | BASIS |
| NOTIFICATION, CONCURRENCE AND APPROVALS |
| The checklist criteria have been met and the activity/task is ready for operational authorization. | READINESS LEADER | DATE |
| The information provided herein is accurate and complete. I recommend approval of permission to conduct the activity/task. | PRODUCTION MANAGER | DATE |
| The information provided herein is accurate and complete. I recommend approval of permission to conduct the activity/task. | RESPONSIBLE MANAGER | DATE |
| CONCURRENCE SIGNATURES (IF REQUIRED) | NAME | DATE | NAME | DATE |
|  | NAME | DATE | INDEPENDENT REVIEWER (If Required) | DATE |
| Operational authorization is granted. | Production Facilities MANAGER (When Applicable) | DATE |
|  | STARTUP/RESTART AUTHORITY | DATE |
| NNSA facility representative (print name) _______________________ was notified of intent to conduct activity/task. | CONTACTED BY | DATE |