| Instructions: Fill in Section A. Have the form reviewed by a Derivative Classifier. When ready to resume normal operations, complete Section B. |
| --- |
| A. PLAN DATA AND APPROVAL |
| BUILDING | PROCESS/OPERATION TO BE MAINTAINED | Organization RESPONSIBLE FOR WORK | DATE PROCESS/EQUIPMENT LAST OPERATED |
| Continuing Operations Plan: A program to provide for and document the deliberate and systematic maintenance of equipment/ system operational readiness, procedure accuracy and viability, and personnel qualification/ proficiency, and readiness to operate in support of a program-related mission(s). Where feasible (based on a documented analysis of benefits, risks, and costs), surrogate materials shall be used to provide assurance that equipment/ systems remain operational |
| 1. | LIST OF EQUIPMENT AFFECTED |
| 2. | LIST REQUIRED MAINTENANCE AND PERIODICITY TO MAINTAIN THE EQUIPMENT READY-FOR-USE |
| 3. | LIST EQUIPMENT THAT REQUIRES CALIBRATION |
| 4. | LIST AFFECTED PROCEDURES (Do NOT INCLUDE WEAPON SPECIFIC PROCEDURES) |
| 5. | LIST THE MINIMUM REQUIRED QUALIFIED/PROFICIENT STAFF |
| 6. | DISCUSS THE PROCESS THAT WILL BE USED TO MAINTAIN PROFICIENCY OF THE EQUIPMENT/PROCESS OPERATORS (INCLUDE WHICH PROCEDURES WILL BE RELINED FOR PROFICIENCY PRACTICE, HOW OFTEN EQUIPMENT WILL BE OPERATED FOR PROFICIENCY, USE OF SURROGATE MATERIAL FOR PROFICIENCY OPERATIONS, ETC.) |
| 7. | DISCUSS THE PROCESS THAT WILL BE USED TO MAINTAIN THE EQUIPMENT READY FOR USE (DISCUSS WHICH CALIBRATIONS WILL BE MAINTAINED AND WHICH will be PERFORMED JUST PRIOR TO RESTART; DISCUSS THE MAINTENANCE REQUIREMENTS FOR THE EQUIPMENT AND THE RATIONAL FOR NOT PERFORMING SCHEDULED MAINTENANCE) |
| RECOMMENDED | PRODUCTION MANAGER (Individual responsible for the Production work that will be performed) | DATE |
| APPROVAL | RESPONSIBLE MANAGER (Individual responsible for the facility where the work will be performed) | DATE |
| CONCURRENCE | READINESS ASSURANCE MANAGER | DATE |
| B. NOTIFICATION, CONCURRENCE AND APPROVAL TO RESTART |
| The equipment has been systematically maintained, calibrations are current, procedure accuracy and viability has been maintained, and personnel qualification/ proficiency, and readiness to operate have been met and the activity/task is ready for operational authorization. | PRODUCTION MANAGER | DATE |
| I have reviewed the provided documentation and the process/equipment has been maintained in accordance with this plan. | INDEPENDENT REVIEWER (When requested by the Responsible Manager) | DATE |
| Operational authorization is granted. | RESPONSIBLE MANAGER | DATE |
| NNSA facility representative (print name) _______________________ was notified of intent to conduct activity/task. | CONTACTED BY | DATE |
| This document has been reviewed by a Y-12 DC/ UCNI RO and has been determined to be UNCLASSIFIED and contains no UCNI. This review does not constitute clearance for Public Release. | Name: _______________________________ Date: ___________ |