| DEMOLITION CHECKLIST |
| --- |
| STARTUP/RESTART DESCRIPTIVE TITLE |
| SAP PROJECT NUMBER |
| CHECK “YES” OR “N/A.” PROVIDE A BASIS FOR ALL ITEMS |
| YES N/A | 1. | New/changed Safety Basis (SB) controls are required for demolition and an IVR performed to confirm implementation. |
|  |  | BASIS |
| YES N/A | 2. | Change Evaluations and/or USQDs support demolition operation. |
|  |  | BASIS |
| YES N/A | 3. | Criticality issues/concerns have been reviewed and CSA(s)/CSR(s) changes have been implemented. |
|  |  | BASIS |
| YES N/A | 4. | A job hazard analysis has been completed and necessary controls implemented in accordance with Y73-045, “Automated Job Hazard Analysis." |
|  |  | BASIS |
| YES N/A | 5. | Critical lifts required for activity/task performance have been reviewed and approved by the Hoisting and Rigging Committee or designee, as required. |
|  |  | BASIS |
| YES N/A | 6. | Required permits/plans (e.g., RWP, critical lifts, etc.) are approved and implemented. |
|  |  | BASIS |
| YES N/A | 7. | Radiological concerns have been properly addressed, e.g., airborne, surface contamination, decontamination, etc. |
|  |  | BASIS |
| YES N/A | 8. | Personal protective equipment (PPE) required for this demolition is available in acceptable condition and sufficient quantity to support operations. |
|  |  | BASIS |
| YES N/A | 9. | Additional chemicals, hazardous materials, or processes associated with the demo (e.g. oil dri, cutting torches and gas cylinders etc.) have been reviewed and accounted for in the JHA. |
|  |  | BASIS |
| YES N/A | 10. | The disposal path for the waste generated by demolition has been determined and adequate numbers of shipping/transport containers are available. |
|  |  | BASIS |
| YES N/A | 11. | Equipment to be removed/demolished has been prepared for demolition (e.g., isolated, drained, de-energized). |
|  |  | BASIS |
| YES N/A | 12. | Safeguards and security and NMC&A issues have been identified and addressed. |
|  |  | BASIS |
| NOTIFICATION, CONCURRENCE AND APPROVALS |
| The checklist criteria have been met and demolition is ready for operational authorization. | READINESS LEADER | DATE |
| The information provided herein is accurate and complete. Demolition is authorized. | RESPONSIBLE MANAGER (Individual responsible for the facility where the demolition will be performed) | DATE |
| NNSA facility representative (print name) was notified of intent to conduct demolition. | CONTACTED BY | DATE |
| CONCURRENCE SIGNATURES (IF REQUIRED) | NAME | DATE | NAME | DATE |