APC Surge Protectors

Stop using surge strip if you have one of these recalled APC products manufactured before 2003. Some surge protection devices can overheat under abnormal conditions, causing risk of fire and danger to persons and property.

8 Series Surge Strip                7 Series Surge Strip

- Recalled units have the following bar codes on bottom of the units

- Confirm the Model Number is included in the table below.

- The two numbers that follow the first letter(s) in the serial number sequence indicate year of manufacture. The unit is included in the recall if the numbers are 93, 94, 95, 96, 97, 98, 99, 00, 01,or 02

| 7 Series | NET7 | NET7T | PER7 | PER7C | PER7T | PER7T-CO | PER7T-U | PER7TX137 | PER7-U |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | PRF7 | PRF7T | PRO7 | PRO7C | PRO7T | PRO8TV | PRO7TX183 | PER7X148 |  |
| 8 Series | NET8 | NET8N | NET7T-C | PER8T | PER8TR | PER8TR-CN | PER8TVR | PRO8T2MP12 | PRO8T2MP12B |
|  | PRO8 | PRO8T2 | PRF8T2 | PRO8T2C | PER8XTV | PRF8TT |  |  |  |

Dehumidifier Recalls

Dehumidifier recalls total about 2.2 million in the United States and 52,500 in Canada due to serious fire and burn hazards. More than $2.725 million in property damage has been reported from 325 incidents. The units can catch fire, posing burn hazards to consumers.

This link,  http://www.cpsc.gov/en/Recalls/2013/Gree-Recalls-12-Brands-of-Dehumidifiers/  directs you to a long list of manufacturers with model numbers of failed dehumidifiers that are on recall. Consumers should immediately turn off and unplug the dehumidifiers and contact Gree to receive a refund.  Call Gree toll-free for more information at (866) 853-2802 from 8 a.m. to 8 p.m. ET Monday through Friday, and on Saturday from 9 a.m. to 3 p.m. ET, or online at www.greeusa.com and click on Recall. You can also report an incident at https://www.saferproducts.gov/CPSRMSPublic/Incidents/ReportIncident.aspx